Inspection Problem Points Report

Mission: mission-65 | Generated automatically from inspection data.

| Inspection | Result | Note/Remark |
| --- | --- | --- |
| loto-7 • Status: CRITICAL • Detection Status: False |  | The vision system identified an anomaly in the designated area, detecting that certain equipment or protective assets were missing or not in their correct state. |
| thermal-119 • Status: CRITICAL • Threshold: 70.0°C • Temperature: 38.0-71.6°C |  | The thermal camera detected an elevated temperature of 71.6°C, which may indicate overheating or abnormal operating conditions. |
| thermal-123 • Status: MISSING • Threshold: 70.0°C • Temperature: N/A-N/A°C |  | The thermal camera detected an elevated temperature of 0°C, which may indicate overheating or abnormal operating conditions. |
| gauge-11 • Status: CRITICAL • Detection Status: False |  | Due to the absence of clear indicator markings or color-coded safe ranges on the gauge, the system could not verify the status, resulting in a critical detection output. |
| leakage-50 • Status: CRITICAL • Is Leak: True |  | The Acoustic Imager successfully detected and localized an air leak, pinpointing its exact coordinates as shown in the visual overlay. |
| loto-16 • Status: MISSING • Detection Status: N/A |  | The vision system confirmed that all assets and safety indicators (LOTO) are in their correct positions and states. |
| leakage-73 • Status: MISSING • Is Leak: N/A |  | The Acoustic Imager monitored the area for ultrasonic leak patterns. No significant air or gas leaks were detected, indicating the system is airtight. |
| thermal-149 • Status: MISSING • Threshold: 50.0°C • Temperature: N/A-N/A°C |  | The thermal camera detected an elevated temperature of 0°C, which may indicate overheating or abnormal operating conditions. |
| leakage-74 • Status: MISSING • Is Leak: N/A |  | The Acoustic Imager monitored the area for ultrasonic leak patterns. No significant air or gas leaks were detected, indicating the system is airtight. |
| asset-24 • Status: MISSING • Detection Status: N/A |  | The vision system confirmed that all assets and safety indicators (LOTO) are in their correct positions and states. |
| thermal-150 • Status: MISSING • Threshold: 50.0°C • Temperature: N/A-N/A°C |  | The thermal camera detected an elevated temperature of 0°C, which may indicate overheating or abnormal operating conditions. |
| leakage-75 • Status: MISSING • Is Leak: N/A |  | The Acoustic Imager monitored the area for ultrasonic leak patterns. No significant air or gas leaks were detected, indicating the system is airtight. |
| leakage-76 • Status: MISSING • Is Leak: N/A |  | The Acoustic Imager monitored the area for ultrasonic leak patterns. No significant air or gas leaks were detected, indicating the system is airtight. |
| loto-17 • Status: MISSING • Detection Status: N/A |  | The vision system confirmed that all assets and safety indicators (LOTO) are in their correct positions and states. |
| leakage-77 • Status: MISSING • Is Leak: N/A |  | The Acoustic Imager monitored the area for ultrasonic leak patterns. No significant air or gas leaks were detected, indicating the system is airtight. |
| leakage-78 • Status: MISSING • Is Leak: N/A |  | The Acoustic Imager monitored the area for ultrasonic leak patterns. No significant air or gas leaks were detected, indicating the system is airtight. |
| leakage-79 • Status: MISSING • Is Leak: N/A |  | The Acoustic Imager monitored the area for ultrasonic leak patterns. No significant air or gas leaks were detected, indicating the system is airtight. |
| leakage-80 • Status: MISSING • Is Leak: N/A |  | The Acoustic Imager monitored the area for ultrasonic leak patterns. No significant air or gas leaks were detected, indicating the system is airtight. |
| leakage-81 • Status: MISSING • Is Leak: N/A |  | The Acoustic Imager monitored the area for ultrasonic leak patterns. No significant air or gas leaks were detected, indicating the system is airtight. |
| leakage-82 • Status: MISSING • Is Leak: N/A |  | The Acoustic Imager monitored the area for ultrasonic leak patterns. No significant air or gas leaks were detected, indicating the system is airtight. |
| thermal-151 • Status: MISSING • Threshold: 50.0°C • Temperature: N/A-N/A°C |  | The thermal camera detected an elevated temperature of 0°C, which may indicate overheating or abnormal operating conditions. |
| leakage-51 • Status: CRITICAL • Is Leak: True |  | The Acoustic Imager successfully detected and localized an air leak, pinpointing its exact coordinates as shown in the visual overlay. |
| asset-18 • Status: CRITICAL • Detection Status: False |  | The vision system identified an anomaly in the designated area, detecting that certain equipment or protective assets were missing or not in their correct state. |
| thermal-130 • Status: MISSING • Threshold: 70.0°C • Temperature: N/A-N/A°C |  | The thermal camera detected an elevated temperature of 0°C, which may indicate overheating or abnormal operating conditions. |
| thermal-131 • Status: MISSING • Threshold: 70.0°C • Temperature: N/A-N/A°C |  | The thermal camera detected an elevated temperature of 0°C, which may indicate overheating or abnormal operating conditions. |
| thermal-132 • Status: MISSING • Threshold: 70.0°C • Temperature: N/A-N/A°C |  | The thermal camera detected an elevated temperature of 0°C, which may indicate overheating or abnormal operating conditions. |
| vibration-59 • Status: MISSING • Kurtosis Thresh/Value: 5.0 / N/A • Peak Factor Thresh/Value: 5.0 / N/A |  | Acoustic vibration analysis detected irregular frequency patterns or high peak factors, suggesting potential mechanical wear or bearing issues. |
| vibration-60 • Status: MISSING • Kurtosis Thresh/Value: 5.0 / N/A • Peak Factor Thresh/Value: 5.0 / N/A |  | Acoustic vibration analysis detected irregular frequency patterns or high peak factors, suggesting potential mechanical wear or bearing issues. |
| vibration-61 • Status: MISSING • Kurtosis Thresh/Value: 5.0 / N/A • Peak Factor Thresh/Value: 5.0 / N/A |  | Acoustic vibration analysis detected irregular frequency patterns or high peak factors, suggesting potential mechanical wear or bearing issues. |
| asset-20 • Status: MISSING • Detection Status: N/A |  | The vision system confirmed that all assets and safety indicators (LOTO) are in their correct positions and states. |
| asset-21 • Status: MISSING • Detection Status: N/A |  | The vision system confirmed that all assets and safety indicators (LOTO) are in their correct positions and states. |
| loto-8 • Status: MISSING • Detection Status: N/A |  | The vision system confirmed that all assets and safety indicators (LOTO) are in their correct positions and states. |
| thermal-133 • Status: MISSING • Threshold: 70.0°C • Temperature: N/A-N/A°C |  | The thermal camera detected an elevated temperature of 0°C, which may indicate overheating or abnormal operating conditions. |
| gauge-13 • Status: CRITICAL • Detection Status: False |  | Due to the absence of clear indicator markings or color-coded safe ranges on the gauge, the system could not verify the status, resulting in a critical detection output. |
| loto-9 • Status: CRITICAL • Detection Status: False |  | The vision system identified an anomaly in the designated area, detecting that certain equipment or protective assets were missing or not in their correct state. |
| loto-10 • Status: CRITICAL • Detection Status: False |  | The vision system identified an anomaly in the designated area, detecting that certain equipment or protective assets were missing or not in their correct state. |
| loto-11 • Status: CRITICAL • Detection Status: False |  | The vision system identified an anomaly in the designated area, detecting that certain equipment or protective assets were missing or not in their correct state. |
| thermal-141 • Status: MISSING • Threshold: 70.0°C • Temperature: N/A-N/A°C |  | The thermal camera detected an elevated temperature of 0°C, which may indicate overheating or abnormal operating conditions. |